## Slide 1: REFRACTIVE ASPECTS OF CATARACT SURGERY

## Slide 2: OPTICAL CORRECTIONS AFTER CATARACT EXTRACTION

## Slide 3: APHAKIA
Aphakia: absence of the lens of the eye
Lens – 1/3 of the refractive power of the eye
After cataract extraction (removal of the opaque lens)  aphakic eye  the eye will be hypermetropic

## Slide 4: CORRECTION OF APHAKIA
Insertion of an intraocular lens at the time of surgery
Contact lenses
Aphakic spectacles

## Slide 5: INTRAOCULAR LENSES (IOLs)
Best optical results
Widely used in developed countries, increasingly used in developing ones
Placed at the site of natural lens
Mimic performance of the natural lens
Can’t change shape  the eye can’t accommodate
Pseudophakic: an eye with an IOL

## Slide 6: TYPES OF IOLs
Standard IOLs
Multifocal IOLs
Accommodative IOLs
Toric IOLs
Monovision

## Slide 7: STANDARD IOLs
Regain your full quality of vision
- Restore quality of vision experienced before cataract
Still need glasses/contact lenses
- Standard IOLs provide clear vision at one distance
- Need glasses/contacts for near, mid-range or distance
- Clear distance vision is most important for most patients

## Slide 8: MULTIFOCAL IOLs
Reduce dependence on glasses
- High success rate
- Enough eyesight improvement; either never OR only occasionally need to wear glasses after surgery
When you may need glasses:
- Read fine print
- See more clearly in low light conditions
- Obtain the best vision at intermediate distances, like at the computer
Possible night vision symptoms
- notice some rings around lights at night
- night driving more challenging than with standard or accommodative IOLs

## Slide 9: ACCOMMODATIVE IOLs
Reduce dependence on glasses
- an excellent quality of vision
- enough eyesight improvement
- need glasses to fine-tune the distance or near vision
When you may need glasses:
i. single-focus lenses  excellent distance vision
- to gain clear vision of near objects, the eye muscles need to strengthen  make the lens move (or flex) correctly  maximum eyesight improvement
- need reading glasses for close vision
ii. eye muscles are unable to adjust - reading glasses
Less risk for night vision symptoms

## Slide 10: TORIC IOLs
Correct astigmatism and cataracts
Monofocal lenses - only provide clear vision at one distance
- need glasses or contacts for near, mid-range OR distance vision
Follow-up:
i. may shift its position as the eye heals
- need to have it realigned to see clearly again
- people with astigmatism may need additional procedures (e.g. LASIK, limbal relaxing incisions) for best vision

## Slide 11: MONOVISION
Implanting a monofocal IOL for distance vision in one eye, while implanting one for near vision in the other
The brain adjusts quickly to monovision
- Joins the information from both eyes together
- Can see near, intermediate and far objects clearly.
Eyesight improvement for both near and distance vision
If toric IOLs are used - correct astigmatism

## Slide 12: CONTACT LENSES
Worn at the surface of the cornea
Produce slight magnification of the retinal image (110%) – not of visual significance
Insertion, removal and cleaning can be difficult for:
- elderly patients
- those with physical disabilities (e.g. arthritis)

## Slide 13: APHAKIC SPECTACLES
Corrective spectacles
Provided when no IOL is used
Disadvantages:
- Powerful positive lenses which magnify the retinal image by about 133%  patient will misjudge distances
- Can cause aniseikonia (disparity in image size) & symptoms (e.g. dizziness, diplopia) if used to correct one eye in:
i. the other eye is phakic (the natural lens is in situ)
ii. the other eye is pseudophakic
- Induce optical aberrations:
i. distortion of image due to thickness of the lens

## Slide 14
Cataract surgery is now emphasizing not only on the extractive aspects but also to perfecting refractive outcomes, either;
- Emmetropic; OR
- Predetermined amount of ametropia
GOALS OF CATARACT SURGERY

## Slide 15
Factors that lead to obtaining ultimate surgical result:
i. Accurate lens power calculations
ii. Control of surgically induced astigmatism:
- Smaller cataract incisions
a. Eliminate surgically induced astigmatism
b. Quicker and more stable postoperative visual rehabilitation
iii. Reduction of preexisting astigmatism:
- Combining astigmatic keratectomy along with phacoemulsification and IOL implantation
- The use of toric lenses
- Surgery on the steepest axis
iv. Treatment of pseudophakic loss of accommodation

## Slide 16: THANK YOU